| World Meteorological Organization & Intergovernmental Oceanographic Commission (of UNESCO) GLOBAL OCEAN OBSERVING SYSTEM/OBSERVATIONS COORDINATION GEORP Ship Observations Team Eleventh Session Virtual Session, 13-16 September 2021 | SOT-11/Doc. 4.2 |
| --- | --- |
|  | Submitted by: Henry KLETA 27.08.2021 DRAFT 1 |

AGENDA ITEM 4:	Metadata

AGENDA ITEM 4.2:	Metadata / Pub47

# SUMMARY

This document provides a report on the activities of the TT metadata during the last intersessional period.

- SUMMARY

Acting TT Chair Mr. Henry Kleta reported on activities of the Metadata Task Team during the last intersessional period.

The TT met on an almost weekly basis for most of the intersessional period. The meeting recognized and thanked the TT for the effort in this very important matter and also thanked Emma Steventon, Chair of the TT until her secondment to a different position in July 2021.

SOT Task Team on Metadata, Membership:

Chair: Emma Steventon (seconded till end of year to another position)

Acting chair: Henry Kleta

Vice chair: vacant

Martin Kramp

Anthonin Lize

Jean-Baptiste Cohuet

David Berry (leaving)

Joel Cabrie

Eric Freeman

Venkat Shesu Reddem

Matthias Hoigt

Rudolf Krockauer

Rebecca Cowley

Tamaryn Morris

Richard Cornes

Puneet Jaswal

SOT Task Team on Metadata, Terms of References:

After SOT-10 the two existing metadata Task Teams (one for VOS, one for SOOP) were merged. No ToRs were defined for the new, combined, SOT wide Task Team.

Suggest ToRs for SOT Task Team on Metadata (based on ToRs of pre-SOT-10 metadata TTs):

- Develop a new composite metadata structure for SOT observing networks based upon new WIGOS metadata standards and existing WMO Pub No 47 metadata requirements.

- Regularly review metadata requirements for SOT observing networks and propose amendments or recommendations where considered appropriate.

- Review the compliance of SOT networks with WIGOS requirements. Liaise with OSCAR Working Groups where required.

- Monitor related work undertaken by other GOOS observing networks to ensure that, where appropriate, consistent harmonised metadata provisions are developed.

- Liaise with the Task Team on Recruitment, Promotion and Training concerning metadata training for VOS operators, Focal Points and PMOs.

- Determine the minimum SOT metadata requirements to be aligned with OSCAR mandatory metadata.

The Team agreed to the suggested Terms of References and thanked the TT again for the work in the intersessional period even without existing Terms of References.

A new SOT wide metadata format was developed by the TT and agreed by SOT-EB before the meeting.

- The new format will replace the current VOS metadata format Pub47.

- The new format will be able to be used by all the SOT networks, VOS, SOOP and ASAP.

- The new format is compatible with WIGOS / OSCAR requirements.

- A history of the metadata will be available.

- For most fields reference tables were defined to standardize input as much as possible

- OceanOPS will act as metadata repository and will feed WIGOS / OSCAR on behalf of station operators.

The new format consists of three blocks:

- one block for ship metadata

- one block for station metadata

- one block for sensor metadata

NB: one ship can host one or more stations, one station can have one or more sensors connected to it.

Mandatory fields to request an SOT-ID:

- Name of Ship

- IMO number or ICES-code (if neither is available OceanOPS will handle ICES code request)

- e Ship Metadata Option (Yes/No), must be confirmed by SHIP-TC

- GTS-ID (ID of real-time dataflow in GTS, SOT-ID recommended)

- Class-Category (VOS: VOS class, all other: NIL)

- Programme (autogenerated based on operator of station)

Additional Mandatory fields to register station in OceanOPS database

- Schedule of Observation

- Installation date

- Information on station (make, model, data transmission)

- Information on sensors (parameter, make, model, installation date)

New SOT metadata format see Annex I

Plan forward:

- OceanOPS will implement new website / front-end to allow easy entry of of stations using the new SOT metadata format

- OceanOPS will be able to receive Pub47 metadata and map the the according fields into the new metadata format for an interim period (suggestion: till SOT-12).

- OceanOPS will be able to provide Pub47 feeds to data users such as archives for an interim period (suggestion: till SOT-12).

Action: Metadata providers and users are requested to adapt their dataflows to the new SOT metadata format (Operators, data archives, etc: SOT-12)

### B. ACTIONS/DECISIONS/RECOMMENDATIONS REQUIRED:

Status of Actions from SOT-10

| Ref. Item | Action Item | By | Deadline | Update |
| --- | --- | --- | --- | --- |
| A6.6/1 | The new composite metadata document should continue to be drafted for SOT networks, based on WIGOS requirements and with the view to eventually replace WMO Pub-47. | TT-Metadata | May 2020 | final adjustments in progress |
| A6.6/2 | Following the Task Team review of WIGOS Pub-1160, new code tables need to be developed for the composite format to capture metadata required for VOS operational activities (but that are not required by WIGOS) | TT-Metadata | SOT-11(ongoing) | final adjustments in progress |
| A6.3/3 | Proposed new composite metadata format be adopted once competed, agreeing the proposed phased approach for VOS | TT-Metadata | SOT-11(ongoing) | General acceptance from SOT-EB received |
| A6.3/4 | VOS operating members and PMOs should be invited to review both the proposed new composite metadata format and the visual JCOMMOPS display and to notify the Task Team if they identify any gaps or consider that further amendments are required. | TT-VOS Metadata, VOS Operators / PMOs, JCOMMOPS | SOT-11(ongoing) | pending |
| A6.3/5 | Training for VOS Operators and Port Met Officers in the collection and management of metadata should be considered in liaison with the Task Team on Recruitment, Promotion & Training (TT-RPT) | TT-RPT & TT-Metadata | SOT-11(ongoing) | pending |

(a)	Adopt draft Action/Decision 4.2/1 — Metadata providers and users are requested to adapt their dataflows to the new SOT metadata format (Operators, data archives, etc: SOT-12).

(b)	Adopt draft Recommendation 0.0.0/1 — Recommendation title.

# C. BACKGROUND INFORMATION (not to be included in the session report):

### References (if any):

1.	[Link to the full report on the website]

2.	...........

### Introduction

[Comment: Main points and arguments leading to formulation of draft decision presented in this document]

ANNEX I

New SOT metadata format

explanation:

- M²	Mandatory to request an SOT-ID (NB: IMO# or ICES code are required, not both)

- M	Mandatory metadata that is required to register a station at OceanOPS

- C	Shall be delivered if available

- O	Optional

| Metadata | Name | M / O / C | content of field | remakrs | Example |
| --- | --- | --- | --- | --- | --- |
| SHIP | Ship Name | M² | free text |  | Sonne |
|  | IMO# | M² | 9 digits (ready for extension) | if available, else NIL | 9633927 |
|  | ICES code | M² | 4 char | if available, else NIL | NIL |
|  | Country of registration | C | ISO 2 | Flagstate of vessel | DE |
|  | Call Sign | C | min 4 max 7 char |  | DBBE |
|  | MMSI | C | 8 digits |  | 21162740 |
|  | Hide Ship Metadata Option | M² | boolean | 1 (Yes) / 0 (No) | 0 |
|  | Vessel type | C | ref table |  | RV |
|  | vessel length | C | real, . decimal meters |  | 118.42 |
|  | vessel breadth | C | real, . decimal meters |  | 20.6 |
|  | freeboard | C | real, . decimal meters |  | NIL |
|  | draft | C | real, . decimal meters |  | 6.4 |
|  | cargo height | C | real, . decimal meters |  | NIL |
|  | distance bridge bow | C | real, . decimal meters |  | NIL |
|  | max speed | C | real, . decimal knots |  | 15.0 |
|  | Shipping Company | O | free text |  | Briese |
| not public | Ship Contact Shore Name | O | free text | e.g. shipping company | Briese Research |
| not public | Ship Contact Shore eMail | O | eMail address | eMail address of PIC | not public |
| not public | Ship Contact Sea eMail | O | eMail address | eMail adddress of ship | not public |
| STATION | GTS-ID | M² | min 4 max 7 char | call sign, MASK, SOT-ID | BLSFV3U |
|  | Class-Category | M² | ref table | VOS: new VOS class | NMHS operated |
|  | Programme | M² | ref table | based on operator | VOS-DE |
|  | Additional Programme Affiliation | O | ref table |  | E-SURFMAR |
|  | Schedule of Observation | M | ref table |  | hourly |
|  | Area of Operation | O | ref table | e.g. target XBT line | NIL |
|  | Target Inspection Interval | O | ref table |  | annual |
|  | start date | M | YYYY-MM-DD | installation date | 2014-02-10 |
|  | stop date | O | YYYY-MM-DD |  | NIL |
|  | Observing Height | O | real, . decimal meters | visual observing height | 14.0 |
|  | Observing system main device | M/O | ref table | e.g. AWS or XBT Recorder | EUCAWS |
|  | main device serial number | O | ref table |  | 00367462 |
|  | main device version number | O | ref table |  | 0.4.2 |
|  | Observing system ancillary device | M/O | ref table | e.g. TBW or XBT Launcher | TurboWin |
|  | ancillary device serial number | O | ref table |  | NIL |
|  | ancillary device version number | O | ref table |  | 5.0 |
|  | Maintenance activity | O |  |  | NIL |
|  | Telecom Service | M | ref table |  | ISDB |
|  | Telecom Type | O | ref table | can be unknown | Iridium |
|  | Latency | M | ref table |  | less than 1 hour |
|  | Ship2Shore dataformat | M | ref table |  | #100 |
| SENSOR | parameter:make_model | M:M | ref table:ref table | ID ref table | ATM:Vaisala_PTB330 |
| [1..n] | serial | O | serial number of sensor |  | 1234 |
|  | start date | M | YYYY-MM-DD |  | 2020-04-29 |
|  | stop date | O | YYYY-MM-DD |  | NIL |
|  | configuration | O | ref table |  | vented to the outside |
|  | configuration - location | O | ref table |  | Technical room |
|  | configuration - sideindicator | O | ref table | STB;PB,NIL | NIL |
|  | measurement unit | O | autogenerate or overwrite |  | NIL |
|  | vertical distance from SLL | O | real, . decimal meters |  | 14.0 |
|  | height of sensor above deck | O | real, . decimal meters |  | 1.8 |
|  | distance from bow | O | real, . decimal meters |  | NIL |
|  | distance from center line | O | real, . decimal meters |  | NIL |
|  | date of last calibration | O | YYYY-MM-DD |  | 2021-05-01 |
|  | next calibration due date | O | YYYY-MM-DD |  | 2023-05-01 |
|  | instrument operating status | O | autogenerate |  | NIL |
|  | instrument specs: range | O | autogenerate or overwrite |  | NIL |
|  | instrument specs: resolution | O | autogenerate or overwrite |  | NIL |
|  | instrument specs: precision | O | autogenerate or overwrite |  | NIL |
|  | instrument specs: accuracy | O | autogenerate or overwrite |  | NIL |
|  | sensor sampling period | O | ref table | sensor specific | 9sec |
|  | total sampling period | O | ref table | observation specific | 1min |
|  | data processing algorithms | O | ref table |  | mean |
|  | instrument control schedule | O | ref table |  | annually |

An Action/Decision  is an item directly related to SOT and on which SOT can action or decide directly. Details on rational for the action/decision should be included in the Background section.

A Recommendation involves proposed action(s)on another body outside of SOT (e.g. DBCP, JCOMM, WMO, IOC, CBS etc.). Rational for the Recommendation should be included in the Draft Recommendation.